## README
Source data for: Detected-photon decision rule for fluorescence and interferometric label-free microscopy (revision 1)
Conventions: N counts all photons detected in one resolution cell (A_eff = lambda^2/(pi NA^2) = 0.0406 um^2, M_cell = 10 pixels of 65 nm) over the frames of one estimate; fluorescence N = signal + background, label-free N = reference photons summed over the four phase steps. G = fringe-modulation coefficient of the cell, G = 2¦E_sc/E_R¦. Target precision 1/SNR* = 0.1.
Theory sheets (Fig1b, Fig1c, FigS2, FigS7) are generated by figures_theory.py; measured sheets (Fig3d, Fig3e, Fig3f, FigS4a, TableS4, Fits) by fig3_analysis.py from photon_series.xlsx.
Sheet list: Parameters, Fig1b, Fig1c, Fig3d, Fig3e, Fig3d_frames, Fig3e_frames, Fig3f, Fits, FigS2, FigS4a, FigS7, TableS4, TableS5.

## Parameters
quantity | value | note
NA | 1.4
wavelength (um) | 0.5
medium index n_m | 1.584 | index-matching oil
bead index n_b | 1.6 | polystyrene near 500 nm
permittivity contrast delta_eps | 0.051 | n_b^2 - n_m^2
SNR* | 10
A_eff (um^2) | 0.0407 | lambda^2/(pi NA^2)
A_coh = n_m A_eff (um^2) | 0.0644 | small-object closed form
M_cell (pixels) | 10 | 65 nm pixels
M_ann (pixels) | 196 | background annulus
fluorescence camera gain (e-/ADU) | 0.46 | ORCA-Flash4.0 V3
fluorescence camera read noise (e- rms) | 1.3
interferometric camera gain (e-/ADU) | 0.47 | ORCA-Flash4.0 V3
interferometric camera read noise (e- rms) | 1.4
calibration date | 10 April 2026
G of the 0.5 um bead, model | 0.156 | projection model, Eq. (S14)
G of the 0.5 um bead, measured | 0.16 | from the recovered phase, 0.080 rad

## Fig1b
Figure 1(b). Crossovers of the plotted curve: 0.988 um (beta=3), 0.427 um (beta=10).
diameter (um) | G closed form | G projection model (plotted) | G 3D first-Born | N_L projection (plotted) | N_L closed form (dotted) | N_F beta=3 | N_F beta=10
0.12 | 0.0089993 | 0.0080049 | 0.0090144 | 3121159.1726 | 2469528.31 | 1600 | 12100
0.12245 | 0.0095628 | 0.0085309 | 0.0095352 | 2748146.8156 | 2187064.3225 | 1600 | 12100
0.12496 | 0.010162 | 0.0090061 | 0.010084 | 2465793.2602 | 1936908.4903 | 1600 | 12100
0.12751 | 0.010798 | 0.0095321 | 0.010663 | 2201188.8971 | 1715365.4152 | 1600 | 12100
0.13012 | 0.011474 | 0.010163 | 0.011272 | 1936256.2917 | 1519162.3779 | 1600 | 12100
0.13278 | 0.012192 | 0.010695 | 0.011914 | 1748420.6197 | 1345400.9914 | 1600 | 12100
0.1355 | 0.012956 | 0.011301 | 0.01259 | 1565999.556 | 1191514.3859 | 1600 | 12100
0.13827 | 0.013767 | 0.011866 | 0.013301 | 1420485.1948 | 1055229.2891 | 1600 | 12100
0.1411 | 0.014629 | 0.012445 | 0.014048 | 1291370.7345 | 934532.4453 | 1600 | 12100
0.14398 | 0.015545 | 0.013221 | 0.014835 | 1144117.0778 | 827640.8742 | 1600 | 12100
0.14693 | 0.016518 | 0.014112 | 0.015661 | 1004287.7462 | 732975.5324 | 1600 | 12100
0.14993 | 0.017553 | 0.014871 | 0.016528 | 904319.5746 | 649137.987 | 1600 | 12100
0.153 | 0.018652 | 0.015647 | 0.017439 | 816904.923 | 574889.7577 | 1600 | 12100
0.15613 | 0.01982 | 0.016424 | 0.018395 | 741471.6379 | 509134.021 | 1600 | 12100
0.15932 | 0.021061 | 0.017301 | 0.019398 | 668158.3486 | 450899.4078 | 1600 | 12100
0.16258 | 0.02238 | 0.018337 | 0.020449 | 594817.1632 | 399325.6542 | 1600 | 12100
0.1659 | 0.023781 | 0.019373 | 0.02155 | 532867.9691 | 353650.8927 | 1600 | 12100
0.1693 | 0.02527 | 0.020345 | 0.022702 | 483187.3594 | 313200.3982 | 1600 | 12100
0.17276 | 0.026852 | 0.021505 | 0.023908 | 432460.5163 | 277376.6204 | 1600 | 12100
0.17629 | 0.028534 | 0.022598 | 0.025169 | 391632.493 | 245650.3567 | 1600 | 12100
0.1799 | 0.03032 | 0.023687 | 0.026486 | 356448.6255 | 217552.9346 | 1600 | 12100
0.18358 | 0.032219 | 0.024953 | 0.027861 | 321215.7833 | 192669.2882 | 1600 | 12100
0.18733 | 0.034236 | 0.026339 | 0.029296 | 288287.3714 | 170631.8265 | 1600 | 12100
0.19116 | 0.03638 | 0.027761 | 0.030792 | 259511.012 | 151115.0038 | 1600 | 12100
0.19507 | 0.038658 | 0.029078 | 0.032351 | 236541.7792 | 133830.5101 | 1600 | 12100
0.19906 | 0.041078 | 0.030461 | 0.033972 | 215552.7913 | 118523.0122 | 1600 | 12100
0.20313 | 0.043651 | 0.032076 | 0.035659 | 194383.8772 | 104966.3817 | 1600 | 12100
0.20728 | 0.046384 | 0.033726 | 0.037411 | 175837.3734 | 92960.3551 | 1600 | 12100
0.21152 | 0.049288 | 0.035358 | 0.039229 | 159976.7469 | 82327.5745 | 1600 | 12100
0.21585 | 0.052374 | 0.037033 | 0.041114 | 145835.5075 | 72910.9686 | 1600 | 12100
0.22026 | 0.055654 | 0.038798 | 0.043067 | 132862.8374 | 64571.4315 | 1600 | 12100
0.22477 | 0.059139 | 0.040696 | 0.045087 | 120760.297 | 57185.7684 | 1600 | 12100
0.22937 | 0.062842 | 0.042677 | 0.047174 | 109811.0265 | 50644.8755 | 1600 | 12100
0.23406 | 0.066776 | 0.044608 | 0.049329 | 100510.0504 | 44852.1282 | 1600 | 12100
0.23884 | 0.070958 | 0.046589 | 0.05155 | 92141.701 | 39721.9538 | 1600 | 12100
0.24373 | 0.075401 | 0.048757 | 0.053837 | 84131.376 | 35178.5673 | 1600 | 12100
0.24871 | 0.080122 | 0.051003 | 0.056188 | 76884.0893 | 31154.8522 | 1600 | 12100
0.2538 | 0.085139 | 0.053214 | 0.058601 | 70627.4301 | 27591.3686 | 1600 | 12100
0.25899 | 0.09047 | 0.055469 | 0.061076 | 65002.6201 | 24435.4752 | 1600 | 12100
0.26428 | 0.096135 | 0.057929 | 0.063609 | 59598.1734 | 21640.5521 | 1600 | 12100
0.26969 | 0.10215 | 0.06037 | 0.066198 | 54876.5366 | 19165.3115 | 1600 | 12100
0.27521 | 0.10855 | 0.062884 | 0.06884 | 50577.1051 | 16973.1883 | 1600 | 12100
0.28083 | 0.11535 | 0.065396 | 0.071531 | 46765.5083 | 15031.7996 | 1600 | 12100
0.28658 | 0.12257 | 0.068062 | 0.074267 | 43174.3296 | 13312.4664 | 1600 | 12100
0.29244 | 0.13025 | 0.070772 | 0.077044 | 39930.5443 | 11789.79 | 1600 | 12100
0.29842 | 0.1384 | 0.073458 | 0.079858 | 37063.5636 | 10441.277 | 1600 | 12100
0.30452 | 0.14707 | 0.076259 | 0.082704 | 34391.3824 | 9247.0065 | 1600 | 12100
0.31075 | 0.15628 | 0.079113 | 0.085576 | 31954.6102 | 8189.3364 | 1600 | 12100
0.3171 | 0.16606 | 0.08201 | 0.088469 | 29737.1579 | 7252.6423 | 1600 | 12100
0.32359 | 0.17646 | 0.084928 | 0.091377 | 27728.3084 | 6423.087 | 1600 | 12100
0.33021 | 0.18751 | 0.087921 | 0.094295 | 25873.069 | 5688.416 | 1600 | 12100
0.33696 | 0.19925 | 0.090923 | 0.097216 | 24192.5575 | 5037.7765 | 1600 | 12100
0.34385 | 0.21172 | 0.093974 | 0.10014 | 22647.4186 | 4461.557 | 1600 | 12100
0.35088 | 0.22498 | 0.097067 | 0.10305 | 21227.0361 | 3951.2453 | 1600 | 12100
0.35806 | 0.23907 | 0.10017 | 0.10595 | 19933.673 | 3499.3029 | 1600 | 12100
0.36538 | 0.25404 | 0.10331 | 0.10883 | 18737.8471 | 3099.0536 | 1600 | 12100
0.37285 | 0.26995 | 0.10649 | 0.11169 | 17636.9604 | 2744.5847 | 1600 | 12100
0.38048 | 0.28685 | 0.10968 | 0.11453 | 16626.9348 | 2430.6598 | 1600 | 12100
0.38826 | 0.30481 | 0.1129 | 0.11734 | 15689.502 | 2152.6416 | 1600 | 12100
0.3962 | 0.3239 | 0.11615 | 0.12012 | 14824.8767 | 1906.423 | 1600 | 12100
0.4043 | 0.34418 | 0.11942 | 0.12288 | 14023.3295 | 1688.3669 | 1600 | 12100
0.41257 | 0.36573 | 0.12273 | 0.12561 | 13278.8492 | 1495.2519 | 1600 | 12100
0.42101 | 0.38863 | 0.12606 | 0.12831 | 12586.412 | 1324.2254 | 1600 | 12100
0.42962 | 0.41296 | 0.12942 | 0.13101 | 11940.5345 | 1172.7609 | 1600 | 12100
0.4384 | 0.43882 | 0.13282 | 0.13369 | 11336.807 | 1038.6208 | 1600 | 12100
0.44737 | 0.4663 | 0.13627 | 0.13637 | 10771.046 | 919.8236 | 1600 | 12100
0.45652 | 0.49549 | 0.13976 | 0.13907 | 10239.6059 | 814.6144 | 1600 | 12100
0.46585 | 0.52652 | 0.1433 | 0.1418 | 9738.9649 | 721.4391 | 1600 | 12100
0.47538 | 0.55949 | 0.14691 | 0.14458 | 9266.3225 | 638.921 | 1600 | 12100
0.4851 | 0.59452 | 0.1506 | 0.14742 | 8818.556 | 565.8414 | 1600 | 12100
0.49502 | 0.63175 | 0.15436 | 0.15035 | 8394.3491 | 501.1206 | 1600 | 12100
0.50515 | 0.67131 | 0.15821 | 0.15339 | 7990.4709 | 443.8026 | 1600 | 12100
0.51548 | 0.71334 | 0.16216 | 0.15657 | 7605.9538 | 393.0406 | 1600 | 12100
0.52602 | 0.75801 | 0.16621 | 0.15991 | 7239.29 | 348.0847 | 1600 | 12100
0.53678 | 0.80547 | 0.17038 | 0.16345 | 6889.661 | 308.2709 | 1600 | 12100
0.54776 | 0.8559 | 0.17469 | 0.16721 | 6553.742 | 273.0109 | 1600 | 12100
0.55896 | 0.9095 | 0.17911 | 0.17121 | 6234.0671 | 241.784 | 1600 | 12100
0.57039 | 0.96645 | 0.18369 | 0.17548 | 5927.1824 | 214.1288 | 1600 | 12100
0.58205 | 1.027 | 0.18838 | 0.18004 | 5635.5909 | 189.6368 | 1600 | 12100
0.59396 | 1.0913 | 0.19325 | 0.18491 | 5355.5316 | 167.9462 | 1600 | 12100
0.6061 | 1.1596 | 0.19825 | 0.1901 | 5088.6328 | 148.7366 | 1600 | 12100
0.6185 | 1.2322 | 0.20339 | 0.19561 | 4834.8764 | 131.7241 | 1600 | 12100
0.63115 | 1.3094 | 0.20868 | 0.20145 | 4592.7518 | 116.6575 | 1600 | 12100
0.64406 | 1.3913 | 0.21408 | 0.20761 | 4363.7928 | 103.3143 | 1600 | 12100
0.65723 | 1.4785 | 0.21963 | 0.21406 | 4146.1907 | 91.4972 | 1600 | 12100
0.67067 | 1.571 | 0.22529 | 0.22078 | 3940.5967 | 81.0318 | 1600 | 12100
0.68438 | 1.6694 | 0.23105 | 0.22773 | 3746.3764 | 71.7634 | 1600 | 12100
0.69838 | 1.7739 | 0.23691 | 0.23486 | 3563.4579 | 63.5551 | 1600 | 12100
0.71266 | 1.885 | 0.24286 | 0.24212 | 3390.8197 | 56.2857 | 1600 | 12100
0.72724 | 2.0031 | 0.24889 | 0.24945 | 3228.596 | 49.8478 | 1600 | 12100
0.74211 | 2.1285 | 0.25499 | 0.25678 | 3075.9584 | 44.1462 | 1600 | 12100
0.75729 | 2.2618 | 0.26117 | 0.26404 | 2932.2317 | 39.0968 | 1600 | 12100
0.77277 | 2.4034 | 0.26741 | 0.27117 | 2796.8902 | 34.6249 | 1600 | 12100
0.78858 | 2.5539 | 0.27373 | 0.2781 | 2669.2427 | 30.6645 | 1600 | 12100
0.8047 | 2.7138 | 0.28013 | 0.28479 | 2548.6054 | 27.1571 | 1600 | 12100
0.82116 | 2.8837 | 0.28663 | 0.2912 | 2434.3257 | 24.0509 | 1600 | 12100
0.83795 | 3.0643 | 0.29325 | 0.29731 | 2325.7708 | 21.2999 | 1600 | 12100
0.85509 | 3.2561 | 0.29999 | 0.30312 | 2222.3644 | 18.8637 | 1600 | 12100
0.87258 | 3.46 | 0.30689 | 0.30867 | 2123.6024 | 16.706 | 1600 | 12100
0.89042 | 3.6767 | 0.31395 | 0.31401 | 2029.0686 | 14.7952 | 1600 | 12100
0.90863 | 3.9069 | 0.32121 | 0.31923 | 1938.398 | 13.1029 | 1600 | 12100
0.92722 | 4.1515 | 0.32868 | 0.32443 | 1851.3783 | 11.6042 | 1600 | 12100
0.94618 | 4.4115 | 0.33635 | 0.32976 | 1767.8624 | 10.2769 | 1600 | 12100
0.96553 | 4.6877 | 0.34424 | 0.33535 | 1687.7336 | 9.1015 | 1600 | 12100
0.98527 | 4.9812 | 0.35235 | 0.34134 | 1610.9466 | 8.0604 | 1600 | 12100
1.0054 | 5.2931 | 0.36066 | 0.3479 | 1537.5654 | 7.1385 | 1600 | 12100
1.026 | 5.6246 | 0.36916 | 0.35512 | 1467.5701 | 6.322 | 1600 | 12100
1.047 | 5.9767 | 0.37783 | 0.36311 | 1401.0183 | 5.5989 | 1600 | 12100
1.0684 | 6.351 | 0.38665 | 0.3719 | 1337.8197 | 4.9585 | 1600 | 12100
1.0902 | 6.7486 | 0.3956 | 0.38148 | 1277.9616 | 4.3913 | 1600 | 12100
1.1125 | 7.1712 | 0.40467 | 0.39177 | 1221.29 | 3.8891 | 1600 | 12100
1.1353 | 7.6202 | 0.41387 | 0.40264 | 1167.636 | 3.4442 | 1600 | 12100
1.1585 | 8.0974 | 0.42319 | 0.41389 | 1116.7716 | 3.0503 | 1600 | 12100
1.1822 | 8.6044 | 0.43265 | 0.42529 | 1068.4458 | 2.7014 | 1600 | 12100
1.2064 | 9.1432 | 0.44229 | 0.43658 | 1022.3969 | 2.3924 | 1600 | 12100
1.231 | 9.7157 | 0.45213 | 0.44752 | 978.3849 | 2.1188 | 1600 | 12100
1.2562 | 10.3241 | 0.4622 | 0.45791 | 936.1981 | 1.8764 | 1600 | 12100
1.2819 | 10.9705 | 0.47254 | 0.4676 | 895.6799 | 1.6618 | 1600 | 12100
1.3081 | 11.6574 | 0.48316 | 0.47657 | 856.7261 | 1.4717 | 1600 | 12100
1.3349 | 12.3874 | 0.49407 | 0.4849 | 819.3206 | 1.3034 | 1600 | 12100
1.3622 | 13.163 | 0.50525 | 0.4928 | 783.4572 | 1.1543 | 1600 | 12100
1.39 | 13.9872 | 0.51669 | 0.50056 | 749.1556 | 1.0223 | 1600 | 12100
1.4185 | 14.863 | 0.52834 | 0.50858 | 716.4674 | 0.90535 | 1600 | 12100
1.4475 | 15.7937 | 0.54019 | 0.51723 | 685.377 | 0.80179 | 1600 | 12100
1.4771 | 16.7826 | 0.55222 | 0.52687 | 655.8572 | 0.71008 | 1600 | 12100
1.5073 | 17.8335 | 0.56441 | 0.53772 | 627.8239 | 0.62886 | 1600 | 12100
1.5381 | 18.9501 | 0.57679 | 0.54984 | 601.1567 | 0.55694 | 1600 | 12100
1.5695 | 20.1367 | 0.5894 | 0.5631 | 575.713 | 0.49323 | 1600 | 12100
1.6016 | 21.3976 | 0.60228 | 0.57716 | 551.3523 | 0.43682 | 1600 | 12100
1.6344 | 22.7374 | 0.61548 | 0.59154 | 527.9582 | 0.38685 | 1600 | 12100
1.6678 | 24.1611 | 0.62903 | 0.60569 | 505.4642 | 0.34261 | 1600 | 12100
1.7019 | 25.674 | 0.64293 | 0.61915 | 483.8432 | 0.30342 | 1600 | 12100
1.7367 | 27.2816 | 0.65716 | 0.63159 | 463.108 | 0.26871 | 1600 | 12100
1.7723 | 28.9899 | 0.6717 | 0.64297 | 443.2873 | 0.23798 | 1600 | 12100
1.8085 | 30.8051 | 0.68648 | 0.65358 | 424.4034 | 0.21076 | 1600 | 12100
1.8455 | 32.734 | 0.70148 | 0.66392 | 406.4411 | 0.18665 | 1600 | 12100
1.8832 | 34.7836 | 0.71671 | 0.67469 | 389.3501 | 0.1653 | 1600 | 12100
1.9217 | 36.9616 | 0.73221 | 0.6865 | 373.0469 | 0.1464 | 1600 | 12100
1.961 | 39.276 | 0.74802 | 0.69974 | 357.4364 | 0.12965 | 1600 | 12100
2.0012 | 41.7353 | 0.76423 | 0.71443 | 342.4391 | 0.11482 | 1600 | 12100
2.0421 | 44.3486 | 0.78086 | 0.73012 | 328.0115 | 0.10169 | 1600 | 12100
2.0838 | 47.1255 | 0.7979 | 0.74608 | 314.1483 | 0.090057 | 1600 | 12100
2.1265 | 50.0763 | 0.81531 | 0.76149 | 300.871 | 0.079756 | 1600 | 12100
2.1699 | 53.2119 | 0.83304 | 0.77578 | 288.2019 | 0.070634 | 1600 | 12100
2.2143 | 56.5438 | 0.85104 | 0.78887 | 276.1378 | 0.062555 | 1600 | 12100
2.2596 | 60.0843 | 0.86933 | 0.80128 | 264.6412 | 0.0554 | 1600 | 12100
2.3058 | 63.8465 | 0.88797 | 0.81394 | 253.6493 | 0.049063 | 1600 | 12100
2.353 | 67.8443 | 0.90704 | 0.82781 | 243.0983 | 0.043451 | 1600 | 12100
2.4011 | 72.0924 | 0.92658 | 0.84336 | 232.9489 | 0.038481 | 1600 | 12100
2.4502 | 76.6065 | 0.94662 | 0.86027 | 223.1939 | 0.03408 | 1600 | 12100
2.5003 | 81.4033 | 0.96707 | 0.87743 | 213.8539 | 0.030182 | 1600 | 12100
2.5514 | 86.5004 | 0.98787 | 0.89345 | 204.9413 | 0.02673 | 1600 | 12100
2.6036 | 91.9167 | 1.009 | 0.9074 | 196.4465 | 0.023672 | 1600 | 12100
2.6569 | 97.6721 | 1.0305 | 0.91956 | 188.3289 | 0.020965 | 1600 | 12100
2.7112 | 103.7879 | 1.0525 | 0.93148 | 180.5389 | 0.018567 | 1600 | 12100
2.7666 | 110.2867 | 1.0751 | 0.9453 | 173.0448 | 0.016443 | 1600 | 12100
2.8232 | 117.1924 | 1.0982 | 0.96244 | 165.8454 | 0.014562 | 1600 | 12100
2.881 | 124.5305 | 1.1217 | 0.98232 | 158.9569 | 0.012897 | 1600 | 12100
2.9399 | 132.328 | 1.1456 | 1.0022 | 152.3863 | 0.011422 | 1600 | 12100
3 | 140.6138 | 1.17 | 1.0187 | 146.1133 | 0.010115 | 1600 | 12100

## Fig1c
Figure 1(c): log10(N_F/N_L) at d = 0.5 um, G(0.5 um) = 0.156 at delta_eps = 0.051 (linear in delta_eps). Bead at delta_eps = 0.051: beta = 3 gives N_F/N_L = 0.20, beta = 10 gives 1.48.
beta \ delta_eps | 0.01 | 0.0112 | 0.0126 | 0.0142 | 0.016 | 0.018 | 0.0202 | 0.0227 | 0.0256 | 0.0287 | 0.0323 | 0.0363 | 0.0409 | 0.0459 | 0.0517 | 0.0581 | 0.0653 | 0.0734 | 0.0826 | 0.0928 | 0.1044 | 0.1174 | 0.132 | 0.1484 | 0.1669 | 0.1877 | 0.211 | 0.2373 | 0.2668 | 0.3
0 | -3.329 | -3.227 | -3.125 | -3.023 | -2.921 | -2.819 | -2.717 | -2.615 | -2.514 | -2.412 | -2.31 | -2.208 | -2.106 | -2.004 | -1.902 | -1.801 | -1.699 | -1.597 | -1.495 | -1.393 | -1.291 | -1.189 | -1.087 | -0.986 | -0.884 | -0.782 | -0.68 | -0.578 | -0.476 | -0.374
0.5 | -2.976 | -2.875 | -2.773 | -2.671 | -2.569 | -2.467 | -2.365 | -2.263 | -2.161 | -2.06 | -1.958 | -1.856 | -1.754 | -1.652 | -1.55 | -1.448 | -1.346 | -1.245 | -1.143 | -1.041 | -0.939 | -0.837 | -0.735 | -0.633 | -0.532 | -0.43 | -0.328 | -0.226 | -0.124 | -0.022
1 | -2.727 | -2.625 | -2.523 | -2.421 | -2.319 | -2.217 | -2.115 | -2.013 | -1.912 | -1.81 | -1.708 | -1.606 | -1.504 | -1.402 | -1.3 | -1.198 | -1.097 | -0.995 | -0.893 | -0.791 | -0.689 | -0.587 | -0.485 | -0.384 | -0.282 | -0.18 | -0.078 | 0.024 | 0.126 | 0.228
1.5 | -2.533 | -2.431 | -2.329 | -2.227 | -2.125 | -2.023 | -1.921 | -1.82 | -1.718 | -1.616 | -1.514 | -1.412 | -1.31 | -1.208 | -1.107 | -1.005 | -0.903 | -0.801 | -0.699 | -0.597 | -0.495 | -0.393 | -0.292 | -0.19 | -0.088 | 0.014 | 0.116 | 0.218 | 0.32 | 0.422
2 | -2.374 | -2.272 | -2.171 | -2.069 | -1.967 | -1.865 | -1.763 | -1.661 | -1.559 | -1.458 | -1.356 | -1.254 | -1.152 | -1.05 | -0.948 | -0.846 | -0.744 | -0.643 | -0.541 | -0.439 | -0.337 | -0.235 | -0.133 | -0.031 | 0.071 | 0.172 | 0.274 | 0.376 | 0.478 | 0.58
2.5 | -2.24 | -2.139 | -2.037 | -1.935 | -1.833 | -1.731 | -1.629 | -1.527 | -1.425 | -1.324 | -1.222 | -1.12 | -1.018 | -0.916 | -0.814 | -0.712 | -0.611 | -0.509 | -0.407 | -0.305 | -0.203 | -0.101 | 0.001 | 0.103 | 0.204 | 0.306 | 0.408 | 0.51 | 0.612 | 0.714
3 | -2.124 | -2.023 | -1.921 | -1.819 | -1.717 | -1.615 | -1.513 | -1.411 | -1.31 | -1.208 | -1.106 | -1.004 | -0.902 | -0.8 | -0.698 | -0.596 | -0.495 | -0.393 | -0.291 | -0.189 | -0.087 | 0.015 | 0.117 | 0.219 | 0.32 | 0.422 | 0.524 | 0.626 | 0.728 | 0.83
3.5 | -2.022 | -1.92 | -1.818 | -1.717 | -1.615 | -1.513 | -1.411 | -1.309 | -1.207 | -1.105 | -1.003 | -0.902 | -0.8 | -0.698 | -0.596 | -0.494 | -0.392 | -0.29 | -0.188 | -0.087 | 0.015 | 0.117 | 0.219 | 0.321 | 0.423 | 0.525 | 0.626 | 0.728 | 0.83 | 0.932
4 | -1.931 | -1.829 | -1.727 | -1.625 | -1.523 | -1.421 | -1.319 | -1.218 | -1.116 | -1.014 | -0.912 | -0.81 | -0.708 | -0.606 | -0.504 | -0.403 | -0.301 | -0.199 | -0.097 | 0.005 | 0.107 | 0.209 | 0.311 | 0.412 | 0.514 | 0.616 | 0.718 | 0.82 | 0.922 | 1.024
4.5 | -1.848 | -1.746 | -1.644 | -1.542 | -1.44 | -1.339 | -1.237 | -1.135 | -1.033 | -0.931 | -0.829 | -0.727 | -0.625 | -0.524 | -0.422 | -0.32 | -0.218 | -0.116 | -0.014 | 0.088 | 0.19 | 0.291 | 0.393 | 0.495 | 0.597 | 0.699 | 0.801 | 0.903 | 1.005 | 1.106
5 | -1.772 | -1.67 | -1.569 | -1.467 | -1.365 | -1.263 | -1.161 | -1.059 | -0.957 | -0.855 | -0.754 | -0.652 | -0.55 | -0.448 | -0.346 | -0.244 | -0.142 | -0.04 | 0.061 | 0.163 | 0.265 | 0.367 | 0.469 | 0.571 | 0.673 | 0.774 | 0.876 | 0.978 | 1.08 | 1.182
5.5 | -1.703 | -1.601 | -1.499 | -1.397 | -1.295 | -1.193 | -1.092 | -0.99 | -0.888 | -0.786 | -0.684 | -0.582 | -0.48 | -0.378 | -0.277 | -0.175 | -0.073 | 0.029 | 0.131 | 0.233 | 0.335 | 0.437 | 0.538 | 0.64 | 0.742 | 0.844 | 0.946 | 1.048 | 1.15 | 1.251
6 | -1.638 | -1.537 | -1.435 | -1.333 | -1.231 | -1.129 | -1.027 | -0.925 | -0.823 | -0.722 | -0.62 | -0.518 | -0.416 | -0.314 | -0.212 | -0.11 | -0.008 | 0.093 | 0.195 | 0.297 | 0.399 | 0.501 | 0.603 | 0.705 | 0.806 | 0.908 | 1.01 | 1.112 | 1.214 | 1.316
6.5 | -1.578 | -1.477 | -1.375 | -1.273 | -1.171 | -1.069 | -0.967 | -0.865 | -0.764 | -0.662 | -0.56 | -0.458 | -0.356 | -0.254 | -0.152 | -0.05 | 0.051 | 0.153 | 0.255 | 0.357 | 0.459 | 0.561 | 0.663 | 0.765 | 0.866 | 0.968 | 1.07 | 1.172 | 1.274 | 1.376
7 | -1.522 | -1.421 | -1.319 | -1.217 | -1.115 | -1.013 | -0.911 | -0.809 | -0.707 | -0.606 | -0.504 | -0.402 | -0.3 | -0.198 | -0.096 | 0.006 | 0.108 | 0.209 | 0.311 | 0.413 | 0.515 | 0.617 | 0.719 | 0.821 | 0.922 | 1.024 | 1.126 | 1.228 | 1.33 | 1.432
7.5 | -1.47 | -1.368 | -1.266 | -1.164 | -1.062 | -0.96 | -0.859 | -0.757 | -0.655 | -0.553 | -0.451 | -0.349 | -0.247 | -0.145 | -0.044 | 0.058 | 0.16 | 0.262 | 0.364 | 0.466 | 0.568 | 0.67 | 0.771 | 0.873 | 0.975 | 1.077 | 1.179 | 1.281 | 1.383 | 1.484
8 | -1.42 | -1.318 | -1.216 | -1.114 | -1.013 | -0.911 | -0.809 | -0.707 | -0.605 | -0.503 | -0.401 | -0.3 | -0.198 | -0.096 | 0.006 | 0.108 | 0.21 | 0.312 | 0.414 | 0.515 | 0.617 | 0.719 | 0.821 | 0.923 | 1.025 | 1.127 | 1.229 | 1.33 | 1.432 | 1.534
8.5 | -1.373 | -1.271 | -1.169 | -1.068 | -0.966 | -0.864 | -0.762 | -0.66 | -0.558 | -0.456 | -0.354 | -0.253 | -0.151 | -0.049 | 0.053 | 0.155 | 0.257 | 0.359 | 0.461 | 0.562 | 0.664 | 0.766 | 0.868 | 0.97 | 1.072 | 1.174 | 1.275 | 1.377 | 1.479 | 1.581
9 | -1.329 | -1.227 | -1.125 | -1.023 | -0.921 | -0.819 | -0.717 | -0.615 | -0.514 | -0.412 | -0.31 | -0.208 | -0.106 | -0.004 | 0.098 | 0.199 | 0.301 | 0.403 | 0.505 | 0.607 | 0.709 | 0.811 | 0.913 | 1.014 | 1.116 | 1.218 | 1.32 | 1.422 | 1.524 | 1.626
9.5 | -1.286 | -1.184 | -1.082 | -0.981 | -0.879 | -0.777 | -0.675 | -0.573 | -0.471 | -0.369 | -0.268 | -0.166 | -0.064 | 0.038 | 0.14 | 0.242 | 0.344 | 0.446 | 0.547 | 0.649 | 0.751 | 0.853 | 0.955 | 1.057 | 1.159 | 1.261 | 1.362 | 1.464 | 1.566 | 1.668
10 | -1.246 | -1.144 | -1.042 | -0.94 | -0.838 | -0.736 | -0.635 | -0.533 | -0.431 | -0.329 | -0.227 | -0.125 | -0.023 | 0.079 | 0.18 | 0.282 | 0.384 | 0.486 | 0.588 | 0.69 | 0.792 | 0.893 | 0.995 | 1.097 | 1.199 | 1.301 | 1.403 | 1.505 | 1.607 | 1.708
10.5 | -1.207 | -1.105 | -1.003 | -0.902 | -0.8 | -0.698 | -0.596 | -0.494 | -0.392 | -0.29 | -0.188 | -0.087 | 0.015 | 0.117 | 0.219 | 0.321 | 0.423 | 0.525 | 0.626 | 0.728 | 0.83 | 0.932 | 1.034 | 1.136 | 1.238 | 1.34 | 1.441 | 1.543 | 1.645 | 1.747
11 | -1.17 | -1.068 | -0.966 | -0.865 | -0.763 | -0.661 | -0.559 | -0.457 | -0.355 | -0.253 | -0.152 | -0.05 | 0.052 | 0.154 | 0.256 | 0.358 | 0.46 | 0.562 | 0.663 | 0.765 | 0.867 | 0.969 | 1.071 | 1.173 | 1.275 | 1.377 | 1.478 | 1.58 | 1.682 | 1.784
11.5 | -1.135 | -1.033 | -0.931 | -0.829 | -0.727 | -0.625 | -0.524 | -0.422 | -0.32 | -0.218 | -0.116 | -0.014 | 0.088 | 0.19 | 0.291 | 0.393 | 0.495 | 0.597 | 0.699 | 0.801 | 0.903 | 1.005 | 1.106 | 1.208 | 1.31 | 1.412 | 1.514 | 1.616 | 1.718 | 1.819
12 | -1.101 | -0.999 | -0.897 | -0.795 | -0.693 | -0.591 | -0.489 | -0.388 | -0.286 | -0.184 | -0.082 | 0.02 | 0.122 | 0.224 | 0.325 | 0.427 | 0.529 | 0.631 | 0.733 | 0.835 | 0.937 | 1.039 | 1.14 | 1.242 | 1.344 | 1.446 | 1.548 | 1.65 | 1.752 | 1.854
boundary beta_x(delta_eps) = sqrt(2)/G - 1 with G = G(0.5 um) delta_eps/0.051 | 45.163 | 40.054 | 35.511 | 31.47 | 27.877 | 24.681 | 21.839 | 19.312 | 17.064 | 15.065 | 13.287 | 11.706 | 10.3 | 9.049 | 7.937 | 6.948 | 6.069 | 5.286 | 4.591 | 3.972 | 3.422 | 2.932 | 2.497 | 2.11 | 1.766 | 1.46 | 1.188 | 0.946 | 0.73 | 0.539

## Fig3d
fluorescence, beta = 3.0, 0.5 um bead. Free-slope fit: slope -0.5003 +/- 0.0073; cost at 1/SNR* = 0.1: 1764 +/- 61 photons.
N (detected photons in cell) | frames | estimator mean | estimator sd | relative precision | error on precision sd/sqrt(2(n-1)) | Cramer-Rao bound incl. read noise | efficiency ratio r
100 | 300 | 26.05 | 10.53 | 0.4042 | 0.016529 | 0.52766 | 1.3054
300 | 300 | 75.95 | 19.92 | 0.2623 | 0.010726 | 0.26048 | 0.99308
1000 | 300 | 252.42 | 33.26 | 0.1318 | 0.0053897 | 0.13317 | 1.0104
3000 | 300 | 748.48 | 55.19 | 0.0737 | 0.0030138 | 0.075248 | 1.021
10000 | 300 | 2499.38 | 105.56 | 0.0422 | 0.0017257 | 0.040896 | 0.96909
30000 | 300 | 7503.89 | 179.14 | 0.0239 | 0.00097734 | 0.023558 | 0.9857
100000 | 300 | 25001.85 | 337.6 | 0.0135 | 0.00055206 | 0.012893 | 0.95505

## Fig3d_beta9.3
fluorescence, beta = 9.3, 0.5 um bead. Free-slope fit: slope -0.5105 +/- 0.0137; cost at 1/SNR* = 0.1: 10710 +/- 753 photons.
N (detected photons in cell) | frames | estimator mean | estimator sd | relative precision | error on precision sd/sqrt(2(n-1)) | Cramer-Rao bound incl. read noise | efficiency ratio r
100 | 300 | 9.71 | 11.72 | 1.207 | 0.049358 | 1.3638 | 1.1299
300 | 300 | 30.64 | 17.25 | 0.563 | 0.023023 | 0.67326 | 1.1958
1000 | 300 | 97.28 | 31.01 | 0.3188 | 0.013037 | 0.34421 | 1.0797
3000 | 300 | 289.83 | 58.94 | 0.2034 | 0.0083176 | 0.19449 | 0.95619
10000 | 300 | 978.7 | 93.64 | 0.0957 | 0.0039135 | 0.1057 | 1.1045
30000 | 300 | 2905.37 | 178.56 | 0.0615 | 0.0025149 | 0.06089 | 0.99008
100000 | 300 | 9696.23 | 316.98 | 0.0327 | 0.0013372 | 0.033325 | 1.0191

## Fig3e
label-free, G = 0.16, 0.5 um bead. Free-slope fit: slope -0.5220 +/- 0.0075; cost at 1/SNR* = 0.1: 9312 +/- 343 photons.
N (detected photons in cell) | frames | estimator mean | estimator sd | relative precision | error on precision sd/sqrt(2(n-1)) | Cramer-Rao bound incl. read noise | efficiency ratio r
100 | 400 | 0.15739 | 0.18082 | 1.1489 | 0.040671 | 1.1806 | 1.0276
300 | 400 | 0.1617 | 0.0929 | 0.5745 | 0.020337 | 0.57312 | 0.99761
1000 | 400 | 0.16177 | 0.04967 | 0.307 | 0.010868 | 0.29026 | 0.94547
3000 | 400 | 0.16293 | 0.02908 | 0.1785 | 0.0063188 | 0.16347 | 0.91579
10000 | 400 | 0.1607 | 0.01534 | 0.0955 | 0.0033807 | 0.088734 | 0.92915
30000 | 400 | 0.15995 | 0.00874 | 0.0546 | 0.0019328 | 0.051098 | 0.93585
100000 | 400 | 0.16052 | 0.00479 | 0.0298 | 0.0010549 | 0.027962 | 0.93832

## Fig3d_frames
Figure 3(d) inset: 300 frames at N_F = 1.76e3.
frame | (A_hat - A)/A
1 | 0.11255
2 | 0.13344
3 | -0.02324
4 | 0.04802
5 | -0.06228
6 | -0.00374
7 | 0.08174
8 | -0.0671
9 | -0.04099
10 | -0.16351
11 | -0.01398
12 | 0.04615
13 | 0.00782
14 | -0.10918
15 | 0.09588
16 | 0.07801
17 | -0.0652
18 | -0.09657
19 | 0.03934
20 | -0.02976
21 | 0.1915
22 | -0.13945
23 | -0.04598
24 | 0.03306
25 | -0.09056
26 | -0.09685
27 | 0.1359
28 | 0.00121
29 | 0.15113
30 | 0.0659
31 | 0.04255
32 | 0.07252
33 | 0.03095
34 | 0.07644
35 | 0.09303
36 | 0.05629
37 | -0.2435
38 | -0.21537
39 | 0.05895
40 | -0.11232
41 | 0.08844
42 | -0.09996
43 | 0.01362
44 | 0.00843
45 | -0.05183
46 | 0.02598
47 | -0.14006
48 | 0.00317
49 | -0.10009
50 | 0.02809
51 | -0.07224
52 | 0.30251
53 | -0.02685
54 | 0.18092
55 | -0.01959
56 | 0.14585
57 | 0.0449
58 | 0.13802
59 | -0.05523
60 | 0.06776
61 | -0.13801
62 | -0.08063
63 | -0.04332
64 | -0.08552
65 | 0.01645
66 | 0.0151
67 | -0.29717
68 | -0.01586
69 | 0.03388
70 | -0.0634
71 | -0.14965
72 | -0.09831
73 | -0.079
74 | 0.02865
75 | -0.0238
76 | -0.01955
77 | 0.16435
78 | -0.02105
79 | 0.03872
80 | 0.20394
81 | -0.16978
82 | 0.02568
83 | 0.08119
84 | -0.1182
85 | -0.06739
86 | -0.06948
87 | -0.21965
88 | 0.01664
89 | 0.08494
90 | -0.01813
91 | -0.03987
92 | -0.04105
93 | 0.037
94 | -0.07872
95 | 0.07619
96 | 0.01258
97 | 0.02544
98 | -0.03985
99 | -0.15712
100 | -0.19452
101 | 0.10893
102 | -0.00658
103 | 0.07277
104 | 0.00222
105 | -0.08812
106 | -0.01678
107 | 0.11036
108 | 0.06373
109 | 0.12579
110 | 0.0822
111 | -0.01159
112 | 0.10291
113 | 0.01581
114 | 0.05413
115 | 0.19515
116 | -0.02309
117 | 0.14563
118 | 0.18176
119 | 0.01519
120 | -0.06576
121 | -0.0771
122 | -0.22878
123 | -0.09508
124 | 0.00685
125 | -0.03
126 | -0.02985
127 | 0.11414
128 | -0.21345
129 | -0.02188
130 | 0.0112
131 | -0.16921
132 | 0.27632
133 | 0.03479
134 | -0.19581
135 | 0.05672
136 | 0.06697
137 | -0.02081
138 | 0.0769
139 | -0.09176
140 | 0.04282
141 | -0.11871
142 | -0.0096
143 | -0.12296
144 | -0.14996
145 | 0.17372
146 | 0.05541
147 | -0.0063
148 | 0.09829
149 | -0.27625
150 | 0.06539
151 | -0.03925
152 | -0.21582
153 | 0.06418
154 | -0.11323
155 | -0.15148
156 | -0.01225
157 | -0.09416
158 | -0.07718
159 | 0.01592
160 | -0.00675
161 | -0.03183
162 | 0.05354
163 | 0.03833
164 | 0.35332
165 | -0.04413
166 | -0.07971
167 | -0.09466
168 | -0.13054
169 | 0.15597
170 | 0.04826
171 | -0.06267
172 | -0.01483
173 | 0.01117
174 | -0.122
175 | -0.15978
176 | 0.17878
177 | 0.07913
178 | -0.06131
179 | 0.04698
180 | -0.02697
181 | 0.13157
182 | 0.11757
183 | 0.02171
184 | 0.13432
185 | 0.0816
186 | 0.03134
187 | -0.09458
188 | -0.01156
189 | 0.00173
190 | 0.08718
191 | 0.05481
192 | -0.00579
193 | -0.07014
194 | 0.07612
195 | -0.03759
196 | -0.13976
197 | -0.10484
198 | -0.01138
199 | 0.07281
200 | -0.03483
201 | 0.27088
202 | -0.01071
203 | 0.08127
204 | 0.08447
205 | -0.05525
206 | 0.01901
207 | 0.07906
208 | -0.24842
209 | 0.11362
210 | 0.25408
211 | 0.14758
212 | -0.01479
213 | 0.11252
214 | -0.05778
215 | 0.02679
216 | -0.16192
217 | 0.07269
218 | -0.17727
219 | 0.05241
220 | 0.18398
221 | 0.13649
222 | 0.05551
223 | -0.09657
224 | -0.07386
225 | 0.0635
226 | 0.06301
227 | -0.05588
228 | 0.00348
229 | 0.2086
230 | 0.03448
231 | -0.14505
232 | -0.09251
233 | 0.08895
234 | 0.03056
235 | 0.13273
236 | -0.08966
237 | -0.04868
238 | 0.10251
239 | 0.06029
240 | 0.2206
241 | 0.02774
242 | -0.09402
243 | 0.15941
244 | 0.0656
245 | 0.24313
246 | -0.02016
247 | -0.07018
248 | -0.07049
249 | -0.04894
250 | -0.01213
251 | 0.01458
252 | 0.06203
253 | 0.24329
254 | 0.048
255 | -0.15372
256 | 0.07876
257 | 0.05473
258 | -0.08417
259 | -0.08408
260 | 0.01961
261 | -0.02822
262 | 0.0192
263 | -0.03982
264 | -0.03916
265 | -0.04259
266 | 0.04157
267 | 0.01593
268 | -0.01755
269 | 0.00928
270 | -0.01208
271 | -0.0439
272 | -0.00948
273 | -0.05695
274 | 0.01113
275 | -0.19329
276 | 0.00645
277 | -0.12951
278 | -0.08931
279 | 0.02053
280 | 0.02236
281 | -0.09182
282 | 0.06404
283 | 0.06219
284 | 0.05658
285 | -0.10862
286 | 0.07615
287 | -0.00498
288 | 0.12258
289 | 0.05196
290 | -0.00468
291 | -0.00986
292 | 0.03175
293 | -0.12876
294 | 0.04821
295 | -0.05471
296 | -0.05913
297 | 0.21083
298 | -0.03054
299 | -0.01726
300 | 0.1475

## Fig3e_frames
Figure 3(e) inset: 400 frames at N_L = 9.31e3.
frame | (G_hat - G)/G
1 | -0.06522
2 | -0.06254
3 | -0.00684
4 | 0.09154
5 | 0.03688
6 | 0.01404
7 | 0.1286
8 | 0.00955
9 | 0.39372
10 | 0.02189
11 | -0.02946
12 | 0.0979
13 | -0.0102
14 | 0.04178
15 | 0.03848
16 | -0.07871
17 | -0.06682
18 | 0.12968
19 | 0.04844
20 | -0.09057
21 | 0.11405
22 | -0.07134
23 | 0.05355
24 | -0.01175
25 | -0.04926
26 | 0.06072
27 | -0.05457
28 | 0.00974
29 | -0.06564
30 | 0.07197
31 | -0.07223
32 | 0.02554
33 | -0.03921
34 | 0.0075
35 | -0.01473
36 | 0.08399
37 | -0.00931
38 | 0.02428
39 | -0.05507
40 | -0.07671
41 | 0.05157
42 | 0.13858
43 | -0.01928
44 | 0.08322
45 | -0.08964
46 | 0.14333
47 | -0.21752
48 | 0.12665
49 | -0.07095
50 | -0.03897
51 | -0.14696
52 | -0.0495
53 | -0.05169
54 | 0.1205
55 | -0.14762
56 | 0.02136
57 | -0.02287
58 | -0.06989
59 | -0.14191
60 | -0.11702
61 | -0.24454
62 | 0.06786
63 | 0.00478
64 | 0.0242
65 | -0.14764
66 | -0.07247
67 | 0.07342
68 | -0.00876
69 | 0.02789
70 | -0.08545
71 | -0.1382
72 | -0.00512
73 | -0.0014
74 | -0.04209
75 | 0.04404
76 | -0.1075
77 | 0.06664
78 | 0.06315
79 | 0.14071
80 | -0.01386
81 | -0.05167
82 | -0.10111
83 | 0.08326
84 | -0.14911
85 | -0.18443
86 | -0.02879
87 | 0.06177
88 | 0.0199
89 | -0.20918
90 | -0.07207
91 | -0.1325
92 | 0.27159
93 | 0.01418
94 | 0.14788
95 | 0.14887
96 | 0.05727
97 | -0.18051
98 | 0.02488
99 | 0.14106
100 | -0.02258
101 | 0.01666
102 | 0.081
103 | 0.11844
104 | -0.1598
105 | -0.06995
106 | 0.04202
107 | 0.18215
108 | -0.02219
109 | 0.13837
110 | 0.15903
111 | -0.06335
112 | 0.08543
113 | 0.12272
114 | 0.05404
115 | 0.12837
116 | 0.09107
117 | 0.10629
118 | 0.11515
119 | -0.07601
120 | 0.151
121 | 0.17622
122 | 0.05067
123 | -0.02632
124 | -0.35719
125 | -0.0184
126 | 0.07547
127 | -0.07556
128 | -0.08125
129 | 0.03698
130 | -0.16083
131 | 0.04527
132 | -0.06928
133 | 0.09129
134 | -0.16562
135 | 0.07046
136 | 0.11542
137 | -0.08905
138 | 0.16717
139 | 0.03595
140 | -0.01691
141 | -0.08466
142 | 0.13106
143 | 0.05571
144 | -0.10284
145 | -0.04357
146 | 0.08289
147 | 0.09227
148 | -0.08147
149 | 0.03549
150 | -0.00682
151 | -0.02192
152 | 0.09469
153 | -0.07887
154 | -0.05301
155 | 0.20633
156 | -0.0318
157 | -0.01689
158 | 0.00683
159 | 0.07533
160 | 0.08927
161 | 0.02771
162 | 0.16596
163 | 0.02369
164 | -0.01985
165 | -0.16919
166 | 0.02605
167 | 0.12087
168 | 0.02954
169 | -0.09918
170 | 0.10465
171 | -0.02312
172 | 0.03419
173 | 0.04481
174 | -0.04312
175 | -0.07781
176 | -0.0102
177 | 0.04913
178 | 0.02956
179 | -0.08679
180 | 0.01593
181 | -0.00729
182 | -0.08466
183 | -0.12235
184 | -0.1525
185 | 0.08656
186 | 0.11639
187 | -0.00671
188 | -0.03548
189 | 0.01565
190 | 0.16123
191 | 0.03335
192 | -0.04196
193 | 0.10864
194 | 0.01145
195 | -0.03909
196 | -0.05996
197 | -0.21742
198 | 0.03751
199 | 0.00396
200 | 0.16725
201 | -0.12239
202 | 0.31482
203 | 0.05355
204 | -0.06732
205 | 0.13739
206 | -0.05824
207 | -0.13016
208 | -0.19967
209 | 0.07881
210 | -0.12337
211 | -0.12351
212 | -0.03999
213 | 0.03148
214 | 0.08138
215 | -0.11672
216 | -0.02133
217 | -0.00256
218 | 0.01759
219 | 0.05165
220 | -0.00113
221 | 0.01497
222 | -0.00264
223 | -0.03243
224 | -0.06948
225 | -0.0587
226 | 0.0258
227 | -0.10955
228 | 0.00119
229 | 0.08203
230 | -0.03187
231 | -0.07854
232 | -0.01881
233 | 0.03074
234 | -0.15663
235 | -0.10201
236 | 0.04755
237 | -0.03092
238 | 0.16344
239 | 0.24935
240 | 0.13293
241 | -0.15255
242 | -0.03547
243 | 0.13363
244 | -0.09293
245 | -0.09056
246 | 0.08326
247 | 0.01231
248 | -0.12687
249 | 0.11889
250 | -0.01924
251 | 0.05281
252 | 0.13423
253 | 0.03231
254 | 0.0698
255 | -0.05211
256 | -0.03777
257 | 0.16874
258 | 0.11536
259 | 0.08899
260 | -0.18032
261 | -0.06085
262 | -0.05238
263 | 0.24198
264 | -0.01374
265 | -0.13642
266 | -0.07121
267 | -0.17545
268 | -0.03463
269 | -0.0619
270 | 0.04353
271 | 0.04951
272 | -0.15425
273 | 0.00677
274 | -0.01652
275 | 0.01811
276 | 0.14148
277 | 0.14321
278 | 0.03982
279 | -0.07493
280 | -0.01246
281 | -0.03491
282 | -0.11908
283 | 0.19356
284 | -0.12826
285 | -0.10387
286 | 0.24875
287 | -0.03354
288 | 0.14187
289 | -0.06232
290 | -0.04297
291 | -0.04992
292 | 0.03164
293 | 0.04739
294 | -0.03236
295 | 0.06052
296 | -0.08466
297 | 0.04225
298 | 0.03914
299 | 0.01526
300 | -0.05491
301 | -0.00996
302 | -0.02231
303 | 0.07058
304 | 0.06064
305 | -4e-05
306 | 0.11067
307 | -0.02368
308 | 0.05822
309 | 0.03868
310 | -0.00158
311 | -0.02524
312 | -0.01984
313 | -0.04249
314 | -0.10275
315 | 0.04555
316 | -0.15578
317 | -0.03065
318 | -0.05739
319 | 0.10608
320 | 0.06163
321 | -0.00594
322 | -0.07699
323 | -0.06756
324 | 0.05517
325 | 0.19687
326 | 0.05702
327 | -0.13804
328 | 0.02487
329 | 0.11038
330 | 0.00631
331 | 0.16703
332 | -0.12859
333 | 0.07641
334 | -0.05985
335 | 0.04646
336 | -0.17192
337 | 0.13282
338 | 0.00134
339 | 0.15867
340 | -0.03112
341 | -0.04905
342 | 0.01331
343 | -0.21965
344 | 0.04353
345 | 0.06708
346 | -0.16137
347 | -0.01267
348 | -0.01197
349 | -0.02906
350 | -0.02085
351 | -0.05458
352 | -0.0477
353 | -0.06994
354 | -0.13352
355 | 0.12801
356 | 0.20474
357 | 0.08455
358 | -0.03939
359 | 0.12067
360 | -0.03253
361 | -0.08505
362 | 0.07977
363 | -0.08809
364 | -0.00916
365 | -0.05651
366 | 0.19045
367 | 0.09055
368 | 0.17893
369 | -0.17987
370 | -0.05385
371 | -0.01333
372 | 0.02641
373 | 0.09484
374 | 0.08688
375 | 0.11797
376 | -0.05015
377 | 0.07289
378 | -0.0482
379 | 0.23708
380 | -0.0122
381 | -0.07629
382 | 0.00653
383 | 0.01889
384 | 0.14079
385 | -0.00702
386 | -0.01801
387 | 0.08992
388 | 0.00058
389 | 0.05104
390 | 0.10991
391 | 0.07754
392 | 0.06661
393 | 0.07124
394 | 0.03394
395 | 0.02555
396 | 0.0465
397 | -0.11032
398 | 0.12666
399 | 0.01154
400 | 0.05408

## Fig3f
Figure 3(f). Lines: N_F = 1764 (beta = 3.0) and 10710 (beta = 9.3) from the calibrated-bead series; label-free fit N_L = C d^-alpha with alpha = 2.31 +/- 0.16, ln C = 7.569. Crossovers: 1.042 um (beta = 3), 0.476 um (beta = 9.3).
diameter (um) | N_F (beta~3), bead mean | N_F SD | N_L, bead mean | N_L SD | G measured | G SD | beads n | G model | N_L model
0.35 | 1540 | 280 | 24500 | 3600 | 0.094 | 0.008 | 24 | 0.097 | 21398
0.42 | 1900 | 330 | 15400 | 2200 | 0.123 | 0.01 | 22 | 0.126 | 12666
0.5 | 1600 | 290 | 9200 | 1300 | 0.16 | 0.012 | 27 | 0.156 | 8193
0.58 | 1810 | 390 | 6500 | 1000 | 0.184 | 0.015 | 25 | 0.188 | 5686
0.66 | 1610 | 310 | 5200 | 800 | 0.201 | 0.017 | 23 | 0.221 | 4103

## Fits
quantity | value | uncertainty | note
label-free exponent alpha (5 beads) | 2.31 | 0.16 | weighted by bead-to-bead SD
alpha without 0.66 um | 2.61 | 0.11
N_F at target, beta = 3.0 (series fit) | 1764 | 61 | ideal Eq. (S7): 1600
N_F at target, beta = 9.3 (series fit) | 10710 | 753 | ideal Eq. (S7): 10609
N_L at target (series fit) | 9312 | 343 | from measured G = 0.16: 7813
crossover beta = 3 (um) | 1.042 | 0.1 | fit-only 0.04; beyond the largest bead, extrapolated
crossover beta = 9.3 (um) | 0.476 | 0.05 | fit-only 0.01; bracketed by 0.42 and 0.50 um
crossover with ideal cost at nominal beta = 10 (um) | 0.452
ratio of crossovers (9.3/3) | 0.46 |  | model (projection) 0.46, 3D Born 0.44; pure thickness limit 0.39
efficiency ratio r, fluorescence (mean over levels) | 1.03 |  | read-noise-corrected bound
efficiency ratio r, label-free (mean over levels) | 0.96 |  | 0.92 to 1.03 across levels

## FigS7
Figure S7, delta_eps = 0.051, NA 1.4, 500 nm.
diameter (um) | G closed form | G projection | G 3D first-Born | N_L projection | N_L 3D | N_L closed form
0.12 | 0.0089993 | 0.0080049 | 0.0090144 | 3121159.1726 | 2461252.4566 | 2469528.31
0.12245 | 0.0095628 | 0.0085309 | 0.0095352 | 2748146.8156 | 2199724.2908 | 2187064.3225
0.12496 | 0.010162 | 0.0090061 | 0.010084 | 2465793.2602 | 1966719.3589 | 1936908.4903
0.12751 | 0.010798 | 0.0095321 | 0.010663 | 2201188.8971 | 1759078.0842 | 1715365.4152
0.13012 | 0.011474 | 0.010163 | 0.011272 | 1936256.2917 | 1573994.4933 | 1519162.3779
0.13278 | 0.012192 | 0.010695 | 0.011914 | 1748420.6197 | 1408976.3685 | 1345400.9914
0.1355 | 0.012956 | 0.011301 | 0.01259 | 1565999.556 | 1261809.9122 | 1191514.3859
0.13827 | 0.013767 | 0.011866 | 0.013301 | 1420485.1948 | 1130528.4095 | 1055229.2891
0.1411 | 0.014629 | 0.012445 | 0.014048 | 1291370.7345 | 1013384.4374 | 934532.4453
0.14398 | 0.015545 | 0.013221 | 0.014835 | 1144117.0778 | 908825.215 | 827640.8742
0.14693 | 0.016518 | 0.014112 | 0.015661 | 1004287.7462 | 815470.7407 | 732975.5324
0.14993 | 0.017553 | 0.014871 | 0.016528 | 904319.5746 | 732094.3988 | 649137.987
0.153 | 0.018652 | 0.015647 | 0.017439 | 816904.923 | 657605.7557 | 574889.7577
0.15613 | 0.01982 | 0.016424 | 0.018395 | 741471.6379 | 591035.2983 | 509134.021
0.15932 | 0.021061 | 0.017301 | 0.019398 | 668158.3486 | 531520.8931 | 450899.4078
0.16258 | 0.02238 | 0.018337 | 0.020449 | 594817.1632 | 478295.7721 | 399325.6542
0.1659 | 0.023781 | 0.019373 | 0.02155 | 532867.9691 | 430677.8721 | 353650.8927
0.1693 | 0.02527 | 0.020345 | 0.022702 | 483187.3594 | 388060.3749 | 313200.3982
0.17276 | 0.026852 | 0.021505 | 0.023908 | 432460.5163 | 349903.3107 | 277376.6204
0.17629 | 0.028534 | 0.022598 | 0.025169 | 391632.493 | 315726.1074 | 245650.3567
0.1799 | 0.03032 | 0.023687 | 0.026486 | 356448.6255 | 285100.9757 | 217552.9346
0.18358 | 0.032219 | 0.024953 | 0.027861 | 321215.7833 | 257647.0379 | 192669.2882
0.18733 | 0.034236 | 0.026339 | 0.029296 | 288287.3714 | 233025.115 | 170631.8265
0.19116 | 0.03638 | 0.027761 | 0.030792 | 259511.012 | 210933.0989 | 151115.0038
0.19507 | 0.038658 | 0.029078 | 0.032351 | 236541.7792 | 191101.8423 | 133830.5101
0.19906 | 0.041078 | 0.030461 | 0.033972 | 215552.7913 | 173291.5095 | 118523.0122
0.20313 | 0.043651 | 0.032076 | 0.035659 | 194383.8772 | 157288.3348 | 104966.3817
0.20728 | 0.046384 | 0.033726 | 0.037411 | 175837.3734 | 142901.7433 | 92960.3551
0.21152 | 0.049288 | 0.035358 | 0.039229 | 159976.7469 | 129961.7934 | 82327.5745
0.21585 | 0.052374 | 0.037033 | 0.041114 | 145835.5075 | 118316.9038 | 72910.9686
0.22026 | 0.055654 | 0.038798 | 0.043067 | 132862.8374 | 107831.835 | 64571.4315
0.22477 | 0.059139 | 0.040696 | 0.045087 | 120760.297 | 98385.8941 | 57185.7684
0.22937 | 0.062842 | 0.042677 | 0.047174 | 109811.0265 | 89871.3402 | 50644.8755
0.23406 | 0.066776 | 0.044608 | 0.049329 | 100510.0504 | 82191.9661 | 44852.1282
0.23884 | 0.070958 | 0.046589 | 0.05155 | 92141.701 | 75261.8381 | 39721.9538
0.24373 | 0.075401 | 0.048757 | 0.053837 | 84131.376 | 69004.1746 | 35178.5673
0.24871 | 0.080122 | 0.051003 | 0.056188 | 76884.0893 | 63350.3492 | 31154.8522
0.2538 | 0.085139 | 0.053214 | 0.058601 | 70627.4301 | 58239.0038 | 27591.3686
0.25899 | 0.09047 | 0.055469 | 0.061076 | 65002.6201 | 53615.2591 | 24435.4752
0.26428 | 0.096135 | 0.057929 | 0.063609 | 59598.1734 | 49430.0126 | 21640.5521
0.26969 | 0.10215 | 0.06037 | 0.066198 | 54876.5366 | 45639.3133 | 19165.3115
0.27521 | 0.10855 | 0.062884 | 0.06884 | 50577.1051 | 42203.8049 | 16973.1883
0.28083 | 0.11535 | 0.065396 | 0.071531 | 46765.5083 | 39088.2299 | 15031.7996
0.28658 | 0.12257 | 0.068062 | 0.074267 | 43174.3296 | 36260.9879 | 13312.4664
0.29244 | 0.13025 | 0.070772 | 0.077044 | 39930.5443 | 33693.7417 | 11789.79
0.29842 | 0.1384 | 0.073458 | 0.079858 | 37063.5636 | 31361.0661 | 10441.277
0.30452 | 0.14707 | 0.076259 | 0.082704 | 34391.3824 | 29240.1344 | 9247.0065
0.31075 | 0.15628 | 0.079113 | 0.085576 | 31954.6102 | 27310.4387 | 8189.3364
0.3171 | 0.16606 | 0.08201 | 0.088469 | 29737.1579 | 25553.5402 | 7252.6423
0.32359 | 0.17646 | 0.084928 | 0.091377 | 27728.3084 | 23952.845 | 6423.087
0.33021 | 0.18751 | 0.087921 | 0.094295 | 25873.069 | 22493.4048 | 5688.416
0.33696 | 0.19925 | 0.090923 | 0.097216 | 24192.5575 | 21161.7373 | 5037.7765
0.34385 | 0.21172 | 0.093974 | 0.10014 | 22647.4186 | 19945.6653 | 4461.557
0.35088 | 0.22498 | 0.097067 | 0.10305 | 21227.0361 | 18834.1731 | 3951.2453
0.35806 | 0.23907 | 0.10017 | 0.10595 | 19933.673 | 17817.2761 | 3499.3029
0.36538 | 0.25404 | 0.10331 | 0.10883 | 18737.8471 | 16885.9044 | 3099.0536
0.37285 | 0.26995 | 0.10649 | 0.11169 | 17636.9604 | 16031.7982 | 2744.5847
0.38048 | 0.28685 | 0.10968 | 0.11453 | 16626.9348 | 15247.4128 | 2430.6598
0.38826 | 0.30481 | 0.1129 | 0.11734 | 15689.502 | 14525.8345 | 2152.6416
0.3962 | 0.3239 | 0.11615 | 0.12012 | 14824.8767 | 13860.7046 | 1906.423
0.4043 | 0.34418 | 0.11942 | 0.12288 | 14023.3295 | 13246.1525 | 1688.3669
0.41257 | 0.36573 | 0.12273 | 0.12561 | 13278.8492 | 12676.7365 | 1495.2519
0.42101 | 0.38863 | 0.12606 | 0.12831 | 12586.412 | 12147.3934 | 1324.2254
0.42962 | 0.41296 | 0.12942 | 0.13101 | 11940.5345 | 11653.3968 | 1172.7609
0.4384 | 0.43882 | 0.13282 | 0.13369 | 11336.807 | 11190.3231 | 1038.6208
0.44737 | 0.4663 | 0.13627 | 0.13637 | 10771.046 | 10754.0283 | 919.8236
0.45652 | 0.49549 | 0.13976 | 0.13907 | 10239.6059 | 10340.6336 | 814.6144
0.46585 | 0.52652 | 0.1433 | 0.1418 | 9738.9649 | 9946.5218 | 721.4391
0.47538 | 0.55949 | 0.14691 | 0.14458 | 9266.3225 | 9568.344 | 638.921
0.4851 | 0.59452 | 0.1506 | 0.14742 | 8818.556 | 9203.0367 | 565.8414
0.49502 | 0.63175 | 0.15436 | 0.15035 | 8394.3491 | 8847.8478 | 501.1206
0.50515 | 0.67131 | 0.15821 | 0.15339 | 7990.4709 | 8500.3699 | 443.8026
0.51548 | 0.71334 | 0.16216 | 0.15657 | 7605.9538 | 8158.5786 | 393.0406
0.52602 | 0.75801 | 0.16621 | 0.15991 | 7239.29 | 7820.8706 | 348.0847
0.53678 | 0.80547 | 0.17038 | 0.16345 | 6889.661 | 7486.0978 | 308.2709
0.54776 | 0.8559 | 0.17469 | 0.16721 | 6553.742 | 7153.5914 | 273.0109
0.55896 | 0.9095 | 0.17911 | 0.17121 | 6234.0671 | 6823.1702 | 241.784
0.57039 | 0.96645 | 0.18369 | 0.17548 | 5927.1824 | 6495.13 | 214.1288
0.58205 | 1.027 | 0.18838 | 0.18004 | 5635.5909 | 6170.2087 | 189.6368
0.59396 | 1.0913 | 0.19325 | 0.18491 | 5355.5316 | 5849.5286 | 167.9462
0.6061 | 1.1596 | 0.19825 | 0.1901 | 5088.6328 | 5534.5172 | 148.7366
0.6185 | 1.2322 | 0.20339 | 0.19561 | 4834.8764 | 5226.8102 | 131.7241
0.63115 | 1.3094 | 0.20868 | 0.20145 | 4592.7518 | 4928.146 | 116.6575
0.64406 | 1.3913 | 0.21408 | 0.20761 | 4363.7928 | 4640.2581 | 103.3143
0.65723 | 1.4785 | 0.21963 | 0.21406 | 4146.1907 | 4364.7756 | 91.4972
0.67067 | 1.571 | 0.22529 | 0.22078 | 3940.5967 | 4103.137 | 81.0318
0.68438 | 1.6694 | 0.23105 | 0.22773 | 3746.3764 | 3856.525 | 71.7634
0.69838 | 1.7739 | 0.23691 | 0.23486 | 3563.4579 | 3625.8234 | 63.5551
0.71266 | 1.885 | 0.24286 | 0.24212 | 3390.8197 | 3411.5962 | 56.2857
0.72724 | 2.0031 | 0.24889 | 0.24945 | 3228.596 | 3214.0862 | 49.8478
0.74211 | 2.1285 | 0.25499 | 0.25678 | 3075.9584 | 3033.2303 | 44.1462
0.75729 | 2.2618 | 0.26117 | 0.26404 | 2932.2317 | 2868.6838 | 39.0968
0.77277 | 2.4034 | 0.26741 | 0.27117 | 2796.8902 | 2719.8517 | 34.6249
0.78858 | 2.5539 | 0.27373 | 0.2781 | 2669.2427 | 2585.9196 | 30.6645
0.8047 | 2.7138 | 0.28013 | 0.28479 | 2548.6054 | 2465.8827 | 27.1571
0.82116 | 2.8837 | 0.28663 | 0.2912 | 2434.3257 | 2358.5707 | 24.0509
0.83795 | 3.0643 | 0.29325 | 0.29731 | 2325.7708 | 2262.6664 | 21.2999
0.85509 | 3.2561 | 0.29999 | 0.30312 | 2222.3644 | 2176.7226 | 18.8637
0.87258 | 3.46 | 0.30689 | 0.30867 | 2123.6024 | 2099.1774 | 16.706
0.89042 | 3.6767 | 0.31395 | 0.31401 | 2029.0686 | 2028.3749 | 14.7952
0.90863 | 3.9069 | 0.32121 | 0.31923 | 1938.398 | 1962.5968 | 13.1029
0.92722 | 4.1515 | 0.32868 | 0.32443 | 1851.3783 | 1900.111 | 11.6042
0.94618 | 4.4115 | 0.33635 | 0.32976 | 1767.8624 | 1839.2415 | 10.2769
0.96553 | 4.6877 | 0.34424 | 0.33535 | 1687.7336 | 1778.4613 | 9.1015
0.98527 | 4.9812 | 0.35235 | 0.34134 | 1610.9466 | 1716.5012 | 8.0604
1.0054 | 5.2931 | 0.36066 | 0.3479 | 1537.5654 | 1652.4611 | 7.1385
1.026 | 5.6246 | 0.36916 | 0.35512 | 1467.5701 | 1585.9031 | 6.322
1.047 | 5.9767 | 0.37783 | 0.36311 | 1401.0183 | 1516.9029 | 5.5989
1.0684 | 6.351 | 0.38665 | 0.3719 | 1337.8197 | 1446.0406 | 4.9585
1.0902 | 6.7486 | 0.3956 | 0.38148 | 1277.9616 | 1374.3237 | 4.3913
1.1125 | 7.1712 | 0.40467 | 0.39177 | 1221.29 | 1303.0524 | 3.8891
1.1353 | 7.6202 | 0.41387 | 0.40264 | 1167.636 | 1233.65 | 3.4442
1.1585 | 8.0974 | 0.42319 | 0.41389 | 1116.7716 | 1167.4898 | 3.0503
1.1822 | 8.6044 | 0.43265 | 0.42529 | 1068.4458 | 1105.7458 | 2.7014
1.2064 | 9.1432 | 0.44229 | 0.43658 | 1022.3969 | 1049.2863 | 2.3924
1.231 | 9.7157 | 0.45213 | 0.44752 | 978.3849 | 998.6127 | 2.1188
1.2562 | 10.3241 | 0.4622 | 0.45791 | 936.1981 | 953.8399 | 1.8764
1.2819 | 10.9705 | 0.47254 | 0.4676 | 895.6799 | 914.7044 | 1.6618
1.3081 | 11.6574 | 0.48316 | 0.47657 | 856.7261 | 880.5943 | 1.4717
1.3349 | 12.3874 | 0.49407 | 0.4849 | 819.3206 | 850.5952 | 1.3034
1.3622 | 13.163 | 0.50525 | 0.4928 | 783.4572 | 823.5584 | 1.1543
1.39 | 13.9872 | 0.51669 | 0.50056 | 749.1556 | 798.2008 | 1.0223
1.4185 | 14.863 | 0.52834 | 0.50858 | 716.4674 | 773.2442 | 0.90535
1.4475 | 15.7937 | 0.54019 | 0.51723 | 685.377 | 747.5882 | 0.80179
1.4771 | 16.7826 | 0.55222 | 0.52687 | 655.8572 | 720.491 | 0.71008
1.5073 | 17.8335 | 0.56441 | 0.53772 | 627.8239 | 691.7085 | 0.62886
1.5381 | 18.9501 | 0.57679 | 0.54984 | 601.1567 | 661.5409 | 0.55694
1.5695 | 20.1367 | 0.5894 | 0.5631 | 575.713 | 630.7553 | 0.49323
1.6016 | 21.3976 | 0.60228 | 0.57716 | 551.3523 | 600.4011 | 0.43682
1.6344 | 22.7374 | 0.61548 | 0.59154 | 527.9582 | 571.5687 | 0.38685
1.6678 | 24.1611 | 0.62903 | 0.60569 | 505.4642 | 545.1612 | 0.34261
1.7019 | 25.674 | 0.64293 | 0.61915 | 483.8432 | 521.7276 | 0.30342
1.7367 | 27.2816 | 0.65716 | 0.63159 | 463.108 | 501.377 | 0.26871
1.7723 | 28.9899 | 0.6717 | 0.64297 | 443.2873 | 483.7738 | 0.23798
1.8085 | 30.8051 | 0.68648 | 0.65358 | 424.4034 | 468.2057 | 0.21076
1.8455 | 32.734 | 0.70148 | 0.66392 | 406.4411 | 453.7258 | 0.18665
1.8832 | 34.7836 | 0.71671 | 0.67469 | 389.3501 | 439.3641 | 0.1653
1.9217 | 36.9616 | 0.73221 | 0.6865 | 373.0469 | 424.3772 | 0.1464
1.961 | 39.276 | 0.74802 | 0.69974 | 357.4364 | 408.463 | 0.12965
2.0012 | 41.7353 | 0.76423 | 0.71443 | 342.4391 | 391.847 | 0.11482
2.0421 | 44.3486 | 0.78086 | 0.73012 | 328.0115 | 375.184 | 0.10169
2.0838 | 47.1255 | 0.7979 | 0.74608 | 314.1483 | 359.3038 | 0.090057
2.1265 | 50.0763 | 0.81531 | 0.76149 | 300.871 | 344.9061 | 0.079756
2.1699 | 53.2119 | 0.83304 | 0.77578 | 288.2019 | 332.3164 | 0.070634
2.2143 | 56.5438 | 0.85104 | 0.78887 | 276.1378 | 321.3766 | 0.062555
2.2596 | 60.0843 | 0.86933 | 0.80128 | 264.6412 | 311.499 | 0.0554
2.3058 | 63.8465 | 0.88797 | 0.81394 | 253.6493 | 301.8842 | 0.049063
2.353 | 67.8443 | 0.90704 | 0.82781 | 243.0983 | 291.8575 | 0.043451
2.4011 | 72.0924 | 0.92658 | 0.84336 | 232.9489 | 281.1936 | 0.038481
2.4502 | 76.6065 | 0.94662 | 0.86027 | 223.1939 | 270.2467 | 0.03408
2.5003 | 81.4033 | 0.96707 | 0.87743 | 213.8539 | 259.7773 | 0.030182
2.5514 | 86.5004 | 0.98787 | 0.89345 | 204.9413 | 250.5485 | 0.02673
2.6036 | 91.9167 | 1.009 | 0.9074 | 196.4465 | 242.903 | 0.023672
2.6569 | 97.6721 | 1.0305 | 0.91956 | 188.3289 | 236.5236 | 0.020965
2.7112 | 103.7879 | 1.0525 | 0.93148 | 180.5389 | 230.5086 | 0.018567
2.7666 | 110.2867 | 1.0751 | 0.9453 | 173.0448 | 223.8135 | 0.016443
2.8232 | 117.1924 | 1.0982 | 0.96244 | 165.8454 | 215.9147 | 0.014562
2.881 | 124.5305 | 1.1217 | 0.98232 | 158.9569 | 207.2656 | 0.012897
2.9399 | 132.328 | 1.1456 | 1.0022 | 152.3863 | 199.1136 | 0.011422
3 | 140.6138 | 1.17 | 1.0187 | 146.1133 | 192.7361 | 0.010115

## FigS4a
Figure S4(a) uses the series of sheets Fig3d (beta = 3.0) and Fig3e.

## TableS4
Table S4 as printed; 0.5 um: beta = 3.0 +/- 0.3; high background N_F = (1.07 +/- 0.19)e4 at beta = 9.3.
d (um) | beta (nominal 3) | beta (nominal 10) | N_F | G model | G measured | N_L model | N_L measured
0.35 | 2.6 | 8.7 | 1540 | 0.097 | 0.094 | 21398 | 24500
0.42 | 2.9 | 9.5 | 1900 | 0.126 | 0.123 | 12666 | 15400
0.5 | 3 | 9.3 | 1600 | 0.156 | 0.16 | 8193 | 9200
0.58 | 2.9 | 9.4 | 1810 | 0.188 | 0.184 | 5686 | 6500
0.66 | 2.7 | 8.9 | 1610 | 0.221 | 0.201 | 4103 | 5200

## TableS5
Table S5, lambda = 500 nm; indicative ranges (Park et al. 2018).
structure | delta_n | thickness t (um) | G = 2 k0 delta_n t | cheaper readout
lipid droplet in cytoplasm | 0.08-0.12 | 0.5-1 | 1.0-3.0 | label-free at any beta (strong scattering)
nucleolus in nucleoplasm | 0.02-0.03 | 1-2 | 0.5-1.5 | label-free for beta > 0-2
mitochondrion in cytoplasm | 0.02-0.04 | 0.3-0.5 | 0.15-0.50 | label-free for beta > 2-8
cytoplasm against medium | 0.03-0.05 | 2-5 | 1.5-6.3 | label-free at any beta
vesicle d ~ 0.2 um | 0.02-0.05 | 0.2 | 0.10-0.25 | label-free for beta > 5-13

## FigS2
Figure S2: crossover diameter (nm) at beta = 3 from the finite-object coupling, Eq. (S14).
NA | delta_eps 0.02, 500 nm | 0.05, 500 nm | 0.1, 500 nm | 0.3, 500 nm | 0.05, 400 nm
0.2 | 3005 | 1760 | 1309 | 864 | 1397
0.3 | 2780 | 1443 | 1036 | 671 | 1144
0.4 | 2622 | 1279 | 877 | 556 | 1022
0.5 | 2550 | 1199 | 780 | 485 | 960
0.6 | 2494 | 1157 | 718 | 434 | 925
0.7 | 2456 | 1124 | 671 | 398 | 899
0.8 | 2428 | 1094 | 639 | 365 | 875
0.9 | 2405 | 1068 | 616 | 341 | 854
1 | 2388 | 1048 | 599 | 321 | 839
1.1 | 2373 | 1035 | 588 | 307 | 828
1.2 | 2361 | 1025 | 578 | 294 | 820
1.3 | 2351 | 1015 | 570 | 280 | 812
1.4 | 2342 | 1006 | 562 | 268 | 805
1.45 | 2338 | 1001 | 558 | 263 | 801